## Sheet1
Sr. No. | UI No. | Location | Make | Range | TOlERANCE | Cal | Due
1 | PG-10 | Compressor Room | Tempres | 0 ~ 25 bar |  | 2024-06-03 | 2025-06-02
2 | PG-11 | Compressor Room | Tempres | 0 ~ 25 bar |  | 2024-06-03 | 2025-06-02
3 | PG-12 | Compressor Room | EM | 0 ~ 17 bar |  | 2024-06-03 | 2025-06-02
4 | PG-13 | Compressor Room | Tempres | 0 ~ 25 bar |  | 2024-06-03 | 2025-06-02
5 | PG-14 | Compressor Room | True Teller | 0 ~ 16 bar |  | 2024-06-03 | 2025-06-02
6 | PG-15 | Compressor Room | True Teller | 0 ~ 16 bar |  | 2024-06-03 | 2025-06-02
7 | PG-16 | Compressor Room | Tempres | 0 ~ 25 bar |  | 2024-06-03 | 2025-06-02
8 | PG-17 | Compressor Room | EM | 0 ~ 16 bar |  | 2024-06-03 | 2025-06-02
9 | PG-18 | Compressor Room | True Teller | 0 ~ 16 bar |  | 2024-06-03 | 2025-06-02
10 | PG-19 | Compressor Room | EM | 0 ~ 17 bar |  | 2024-06-03 | 2025-06-02
11 | PG-20 | Compressor Room | Tempres | 0 ~ 25 bar |  | 2024-06-03 | 2025-06-02
12 | PG-21 | Compressor Room | Wika | 0 ~ 10 bar |  | 2024-06-03 | 2025-06-02
13 | PG-59 | Compressor Room | Tempres | 0 ~ 25 bar |  | 2024-06-03 | 2025-06-02
14 | PG-60 | Compressor Room | True Teller | 0 ~ 16 bar |  | 2024-06-03 | 2025-06-02
15 | PG-61 | Compressor Room | EMPEO | 0 ~ 10 bar |  | 2024-06-03 | 2025-06-02
16 | PG-62 | Compressor Room | WIKA | 0 ~ 10 bar |  | 2024-06-03 | 2025-06-02
17 | PG-63 | Compressor Room | WIKA | 0 ~ 25 bar |  | 2024-06-03 | 2025-06-02
18 | PG-64 | Compressor Room | WIKA | 0 ~ 25 bar |  | 2024-06-03 | 2025-06-02
19 | PG-65 | Compressor Room | WIKA | 0 ~ 25 bar |  | 2024-06-03 | 2025-06-02
20 | PG-115 | Boiler Room | EMPEO | 0 ~ 10 bar |  | 2024-06-06 | 2025-06-05
21 | PG-116 | Boiler Room | EMA Tech | 0 ~ 17 bar |  | 2024-06-06 | 2025-06-05
22 | PG-117 | Boiler Room | EMPEO | 0 ~ 10 bar |  | 2024-06-06 | OUT OF ORDER
23 | PG-118 | Boiler Room | EMPEO | 0 ~ 10 bar |  | 2024-06-06 | 2025-06-05
24 | PG-119 | Boiler Room | RUETELLER | 0 ~ 25 bar |  | 2024-06-06 | 2025-06-05
25 | PG-120 | Boiler Room | WIKAI | 0 ~ 25 bar |  | 2024-06-06 | 2025-06-05
26 | TG-05 | Boiler Room | EMPEO | 0 ~ 120°C |  | 2024-06-06 | 2025-06-05
27 | TG-06 | Boiler Room | VIESSMANN | 0 ~ 200°C |  | 2024-06-06 | 2025-06-05
28 | PG-120 | Boiler Room | WIKAI | 0 ~ 210 psi |  | 2024-06-06 | 2025-06-05
29 | PG-121 | Boiler Room | KIPINAGO | 0 ~ 100 mbar |  | 2024-06-06 | 2025-06-05
30 | PG-122 | Boiler Room | WIKAI | 0 ~ 10 bar |  | 2024-06-06 | 2025-06-05
31 | TG-07 | Boiler Room | Tempres | 0 ~ 600°C |  | 2024-06-06 | 2025-06-05
32 | TG-08 | Boiler Room | WIKAI | 0 ~ 600°C |  | 2024-06-06 | 2025-06-05
33 | TG-09 | Boiler Room | WIKAI | 0 ~ 200°C |  | 2024-06-06 | 2025-06-05
34 | PG-05 | Steam Boiler | Pression | 0 ~ 15 psi |  | 2024-06-03 | 2025-06-02
35 | PG-06 | Steam Boiler | 261534-3 | 0 ~ 100 mabr |  | 2024-06-03 | 2025-06-02
36 | PG-07 | Steam Boiler | Unitherm | 0 ~ 350 psi |  | 2024-06-03 | 2025-06-02
37 | PG-08 | Steam Boiler | HTM | 0 ~ 25 bar |  | 2024-06-03 | 2025-06-02
38 | PG-09 | Steam Boiler | Tempres | 0 ~ 600 psi |  | 2024-06-03 | 2025-06-02
39 | TG-02 | Steam Boiler | WIKAI | 0 ~ 600°C |  | 2024-06-03 | 2025-06-02
40 | TG-03 | Steam Boiler | Tempres | 0 ~ 300°C |  | 2024-06-03 | 2025-06-02
41 | TG-04 | Steam Boiler | WIKAI | 0 ~ 300°C |  | 2024-06-03 | 2025-06-02
42 | PG-01 | 4MW HWG | FMM | 0 ~ 250 psi |  | 2024-06-03 | 2025-06-02
43 | PG-02 | 4MW HWG | WIKAI | 0 ~ 35 psi |  | 2024-06-03 | 2025-06-02
44 | PG-03 | 4MW HWG | KIPINAGO | 0 ~ 100 mbar |  | 2024-06-03 | 2025-06-02
45 | PG-04 | 4MW HWG | AFRISO | 0 ~ 16 bar |  | 2024-06-03 | 2025-06-02
46 | TG-01 | 4MW HWG | JAKQ | 0 ~ 200°C |  | 2024-06-03 | OUT OF ORDER
47 | PG-89 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
48 | PG-90 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
49 | PG-91 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
50 | PG-92 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
51 | PG-93 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
52 | PG-94 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
53 | PG-95 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
54 | PG-96 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
55 | PG-97 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
56 | PG-98 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
57 | PG-99 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
58 | PG-100 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
59 | PG-101 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
60 | PG-102 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
61 | PG-103 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
62 | PG-104 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
63 | PG-105 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
64 | PG-112 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
65 | PG-113 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
66 | PG-106 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
67 | PG-107 | Power House | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
68 | PG-303 | Power House | Unitherm | 0 ~ 10 bar
69 | PG-304 | Power House | Unitherm | 0 ~ 10 bar
70 | PG-305 | Power House | Unitherm | 0 ~ 10 bar
71 | PG-306 | Power House | Unitherm | 0 ~ 10 bar
72 | PG-307 | Power House | Unitherm | 0 ~ 10 bar
73 | PG-308 | Power House | Unitherm | 0 ~ 10 bar
74 | PG-309 | Power House | Unitherm | 0 ~ 10 bar
75 | PG-310 | Power House | Unitherm | 0 ~ 10 bar
76 | PG-108 | Power House | Tec sis | 0 ~ 4 bar
77 | PG-111 | Power House | Tec sis | 0 ~ 4 bar
78 | PG-171 | Power House | WIKA | 0 ~ 60 bar
79 | PG-170 | Power House | Tec sis | 0 ~ 16 bar
80 | PG-109 | Power House | LR | 0 ~ 16 bar
81 | PG-110 | Power House | LR | 0 ~ 60 bar
82 | PG-114 | Power House | WIKA | 0 ~ 4 bar
83 | PG-124 | Power House | True teller | 0 ~ 16 bar
84 | PG-125 | Power House | MC | 0 ~ 1 Mpa
85 | PG-126 | Power House | Unitherm | 0 ~ 10 bar
86 | PG-127 | Power House | Unitherm | 0 ~ 10 bar
87 | PG-128 | Power House | Unitherm | 0 ~ 10 bar
88 | PG-129 | Power House | Unitherm | 0 ~ 10 bar
89 | PG-130 | Power House | Unitherm | 0 ~ 10 bar
90 | PG-131 | Power House | Unitherm | 0 ~ 10 bar
91 | PG-132 | Power House | Unitherm | 0 ~ 10 bar
92 | PG-133 | Power House | Unitherm | 0 ~ 10 bar
93 | PG-134 | Power House | Unitherm | 0 ~ 10 bar
94 | PG-135 | Power House | Unitherm | 0 ~ 10 bar
95 | PG-136 | Power House | Unitherm | 0 ~ 10 bar
96 | PG-137 | Power House | Unitherm | 0 ~ 10 bar
97 | PG-138 | Power House | Unitherm | 0 ~ 10 bar
98 | PG-139 | Power House | Unitherm | 0 ~ 10 bar
99 | PG-141 | Power House | Unitherm | 0 ~ 10 bar
100 | PG-147 | Power House | Unitherm | 0 ~ 10 bar
101 | PG-148 | Power House | Unitherm | 0 ~ 10 bar
102 | PG-149 | Power House | Unitherm | 0 ~ 10 bar
103 | PG-299 | Power House | Unitherm | 0 ~ 10 bar
104 | PG-300 | Power House | Unitherm | 0 ~ 10 bar
105 | PG-301 | Power House | Unitherm | 0 ~ 10 bar
106 | PG-302 | Power House | Unitherm | 0 ~ 10 bar
107 | PG-140 | Power House | Tec sis | 0 ~ 4 bar
108 | PG-144 | Power House | Tec sis | 0 ~ 4 bar
109 | PG-146 | Power House | Unitherm | 0 ~ 60 bar
110 | PG-145 | Power House | Tec sis | 0 ~ 16 bar
111 | PG-142 | Power House | LR | 0 ~ 16 bar
112 | PG-143 | Power House | LR | 0 ~ 60 bar
113 | PG-151 | Power House | WIKA | 0 ~ 15 bar
114 | PG-150 | Power House | Tempres | 0 ~ 40 bar
115 | PG-152 | Power House | WIKA | 0 ~ 10 bar
116 | PG-153 | Power House | Reateller | 0 ~ 16 bar
117 | TG-09 | Power House | WIKA | 0 ~ 160°C
118 | TG-10 | Power House | TECSIS | 0 ~ 120°C
119 | PG-154 | Power House | Unitherm | 0 ~ 10 bar
120 | PG-157 | Power House | Tempres | 0 ~ 16 bar
121 | PG-158 | Power House | Tempres | 0 ~ 25 bar
122 | PG-155 | Power House | Tempres | 0 ~ 5 bar
123 | PG-156 | Power House | Fimet | 0 ~ 6 bar
124 | PG-310 | Power House | MUGVA-FIMA | 0 ~ 25 bar
125 | PG-311 | Power House | MUGVA-FIMA | 0 ~ 25 bar
126 | PG-312 | Power House | MUGVA-FIMA | 0 ~ 16 bar
127 | PG-313 | Power House | MUGVA-FIMA | 0 ~ 16 bar
128 | TG-68 | Power House | WIKA | 0 ~ 250°C
129 | PS-01 | Power House | N/A | 0 ~ 2.5 bar
130 | PG-314 | Power House | MUGVA-FIMA | 0 ~ 16 bar
131 | PG-159 | Power House | Tempres | 0 ~ 150 psi
132 | PG-160 | Power House | Tempres | 0 ~ 150 psi |  |  | OUT OF ORDER
133 | PG-161 | Power House | Tempres | 0 ~ 150 psi
134 | TG-11 | Power House | Tempres | 0 ~ 300°C |  |  | OUT OF ORDER
135 |  | Power House | Wika | 0 ~ 120°C |  | 2024-06-06 | 2025-06-05
136 | PG-166 | Power House | Unitherm | 0 ~ 100 psi |  | 2024-06-06 | 2025-06-05
137 | PG-167 | Power House | Tempres | 0 ~ 150 psi | ± 1%FS | 2024-06-06 | 2025-06-05
138 | PG-168 | Power House | Tempres | 0 ~ 150 psi |  | 2024-06-06 | 2025-06-05
139 | PG-169 | Power House | Tempres | 0 ~ 150 psi |  | 2024-06-06 | 2025-06-05
140 | TG-12 | Power House | WIKA | 0 ~ 120°C |  | 2024-06-06 | 2025-06-05
141 | TG-13 | Power House | Tempres | 0 ~ 300°C |  | 2024-06-06 | 2025-06-05
142 | PG-162 | Power House | Tempres | 0 ~ 100 psi |  | 2024-06-06 | 2025-06-05
143 |  | Power House | Tempres | 0 ~ 150 psi |  | 2024-06-06 | 2025-06-05
144 | PG-163 | Power House | EMPEO | 0 ~ 150 psi |  | 2024-06-06 | 2025-06-05
145 | PG-164 | Power House | Tempres | 0 ~ 150 psi |  | 2024-06-06 | 2025-06-05
146 | PG-165 | Power House | Tempres | 0 ~ 150 psi |  | 2024-06-06 | 2025-06-05
147 | TG-64 | Power House | WIKA | 0 ~ 120°C |  | 2024-06-06 | 2025-06-05
148 | TG-65 | Power House | WIKA | 0 ~ 120°C |  | 2024-06-06 | 2025-06-05
149 | TG-66 | Power House | WIKA | 0 ~ 120°C |  | 2024-06-06 | 2025-06-05
150 | TG-67 | Power House | WIKA | 0 ~ 120°C |  | 2024-06-06 | 2025-06-05
151 | TG-14 | Tank Yard Area | Tempres | 0 ~ 120°C |  | 2024-06-06 | 2025-06-05
152 | PG-172 | Tank Yard Area | EMM | 0 ~ 17 bar |  | 2024-06-06 | 2025-06-05
153 | PG-173 | Tank Yard Area | Weiss | 0 ~ 10 bar |  | 2024-06-06 | 2025-06-05
154 | PG-174 | Tank Yard Area | Unitherm | 0 ~ 10 bar |  | 2024-06-06 | 2025-06-05
155 | PG-175 | Tank Yard Area | WIKA | 0 ~ 7 bar |  | 2024-06-06 | 2025-06-05
156 | PG-176 | Tank Yard Area | Tempres | 0 ~ 25 bar |  | 2024-06-06 | 2025-06-05
157 | PG-177 | Tank Yard Area | GFA | 0 ~ 16 bar |  | 2024-06-06 | 2025-06-05
158 | PG-178 | Tank Yard Area | EMPEO | 0 ~ 10 bar |  | 2024-06-06 | 2025-06-05
159 | PG-179 | Tank Yard Area | Alfa Laval | 1 ~ 1.5 bar |  | 2024-06-06 | OUT OF ORDER
160 | PG-180 | Tank Yard Area | Alfa Laval | 0 ~ 6 bar |  | 2024-06-06 | 2025-06-05
161 | PG-181 | Tank Yard Area | WIKA | 0 ~ 16 bar |  | 2024-06-06 | 2025-06-05
162 | PG-182 | Tank Yard Area | Alfa Laval | 0 ~ 10 bar |  | 2024-06-06 | 2025-06-05
163 | PG-67 | Industrial Water Room | WIKA | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
164 | PG-68 | Industrial Water Room | Tempress | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
165 | PG-69 | Industrial Water Room | WIKA | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
166 | PG-70 | Industrial Water Room | True teller | 0 ~ 25 bar |  | 2024-06-05 | 2025-06-04
167 | PG-66 | Industrial Water Room | WIKA | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
168 | PG-71 | Paint Ancillary Compressor Room | Unitherm | 0 ~ 10 bar |  | 2024-06-05 | 2025-06-04
169 | PG-72 | Paint Ancillary Compressor Room | N/A | 0 ~ 16 bar |  | 2024-06-05 | 2025-06-04
170 | PG-73 | Paint Ancillary Compressor Room | N/A | 0 ~ 16 bar |  | 2024-06-05 | 2025-06-04
171 | PG-74 | Paint Ancillary Compressor Room | WIKA | 0 ~ 40 bar |  | 2024-06-05 | 2025-06-04
172 | PG-75 | Paint Ancillary Compressor Room | Samsung | 0 ~ 15 bar |  | 2024-06-05 | 2025-06-04
173 | PG-183 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
174 | PG-184 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
175 | PG-185 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
176 | PG-186 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
177 | PG-187 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
178 | PG-188 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
179 | PG-189 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
180 | PG-190 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
181 | PG-191 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
182 | PG-192 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
183 | PG-193 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
184 | PG-194 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
185 | PG-195 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
186 | PG-196 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
187 | PG-197 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
188 | PG-198 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
189 | PG-199 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
190 | PG-200 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
191 | PG-201 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
192 | PG-202 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
193 | PG-203 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
194 | PG-204 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
195 | PG-205 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
196 | PG-206 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
197 | PG-207 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
198 | PG-208 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
199 | PG-209 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
200 | PG-210 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
201 | PG-211 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
202 | PG-212 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
203 | PG-213 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Tempress | 0 ~ 2.5 bar |  | 2024-06-07 | 2025-06-06
204 | PG-214 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Tempress | 0 ~ 2.5 bar |  | 2024-06-07 | 2025-06-06
205 | PG-215 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
206 | PG-216 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
207 | PG-217 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
208 | PG-218 | ABSORPTION/CENTRIFUGAL CHILLER ROOM | WEISS | 0 ~ 11 bar |  | 2024-06-07 | 2025-06-06
209 | PG-219 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
210 | PG-220 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
211 | PG-221 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
212 | PG-222 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
213 | PG-223 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
214 | PG-224 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
215 | PG-225 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
216 | PG-226 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
217 | PG-227 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
218 | PG-228 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
219 | PG-229 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
220 | PG-230 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
221 | PG-231 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
222 | PG-232 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
223 | PG-233 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
224 | PG-234 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
225 | PG-235 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
226 | PG-236 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
227 | PG-237 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
228 | PG-238 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
229 | PG-239 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
230 | PG-240 | SCREW CHILLER & TURBO CHILLER ROOM | DURR | 0 ~ 6 bar |  | 2024-06-07 | 2025-06-06
231 | PG-241 | SCREW CHILLER & TURBO CHILLER ROOM | DURR | 0 ~ 6 bar |  | 2024-06-07 | 2025-06-06
232 | PG-242 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
233 | PG-243 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
234 | PG-244 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
235 | PG-245 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
236 | PG-246 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
237 | PG-247 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
238 | PG-248 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
239 | PG-249 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
240 | PG-250 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
241 | PG-251 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
242 | PG-252 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
243 | PG-253 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
244 | PG-254 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
245 | PG-255 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
246 | PG-256 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
247 | PG-257 | SCREW CHILLER & TURBO CHILLER ROOM | MC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
248 | TG-15 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
249 | TG-16 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
250 | TG-17 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
251 | TG-18 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
252 | TG-19 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
253 | TG-20 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
254 | TG-21 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
255 | TG-22 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
256 | TG-23 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
257 | TG-24 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
258 | TG-25 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
259 | TG-26 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
260 | TG-27 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
261 | TG-28 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
262 | TG-29 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
263 | TG-30 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
264 | TG-31 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
265 | TG-32 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
266 | TG-33 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
267 | TG-34 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
268 | TG-35 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
269 |  | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
270 | TG-36 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
271 | TG-37 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
272 | TG-38 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
273 | TG-39 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
274 | TG-40 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
275 | TG-41 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
276 | TG-42 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
277 | TG-43 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
278 | TG-44 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
279 | TG-45 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
280 | TG-46 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
281 | TG-47 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
282 | TG-48 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
283 | TG-49 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
284 | TG-50 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
285 | TG-51 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
286 | PG-258 | SCREW CHILLER & TURBO CHILLER ROOM | MCC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
287 | PG-259 | SCREW CHILLER & TURBO CHILLER ROOM | MCC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
288 | PG-260 | SCREW CHILLER & TURBO CHILLER ROOM | MCC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
289 | PG-261 | SCREW CHILLER & TURBO CHILLER ROOM | MCC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
290 | TG-52 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
291 | TG-53 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
292 | TG-54 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
293 | TG-55 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
294 | PG-262 | SCREW CHILLER & TURBO CHILLER ROOM | MCC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
295 | PG-263 | SCREW CHILLER & TURBO CHILLER ROOM | MCC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
296 | PG-264 | SCREW CHILLER & TURBO CHILLER ROOM | MCC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
297 | PG-265 | SCREW CHILLER & TURBO CHILLER ROOM | MCC | 0 ~ 1 Mpa |  | 2024-06-07 | 2025-06-06
298 | TG-56 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
299 | TG-57 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
300 | TG-58 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
301 | TG-59 | SCREW CHILLER & TURBO CHILLER ROOM | WSS | 0 ~ 100°C |  | 2024-06-07 | 2025-06-06
302 | PG-279 | WELD AHU | EMPEO | 0 ~ 10 bar |  | 2024-06-10 | 2025-06-09
303 | PG-280 | WELD AHU | EMPEO | 0 ~ 11 bar |  | 2024-06-10 | OUT OF ORDER
304 | PG-281 | WELD AHU | EMPEO | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
305 | PG-282 | WELD AHU | EMPEO | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
306 | PG-283 | WELD AHU | EMPEO | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
307 | PG-284 | WELD AHU | EMPEO | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
308 | PG-285 | WELD AHU | EMPEO | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
309 | PG-286 | WELD AHU | EMPEO | 0 ~ 11 bar |  | 2024-06-10 | OUT OF ORDER
310 | PG-287 | WELD AHU | EMPEO | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
311 | PG-288 | WELD AHU | EMPEO | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
312 | PG-266 | ASSEMBLY AHU | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
313 | PG-267 | ASSEMBLY AHU | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
314 | PG-268 | ASSEMBLY AHU | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
315 | PG-269 | ASSEMBLY AHU | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
316 | PG-270 | ASSEMBLY AHU | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
317 | PG-271 | ASSEMBLY AHU | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
318 | PG-272 | ASSEMBLY AHU | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
319 | PG-273 | ASSEMBLY AHU | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
320 | PG-274 | ASSEMBLY AHU | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
321 | PG-275 | ASSEMBLY AHU | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
322 | PG-276 | SAMSUNG CHILLED WATER PUMP | WGTC | 0 ~ 10 bar |  | 2024-06-10 | 2025-06-09
323 | PG-277 | SAMSUNG CHILLED WATER PUMP | WGTC | 0 ~ 10 bar |  | 2024-06-10 | 2025-06-09
324 | PG-278 | SAMSUNG CHILLED WATER PUMP | WGTC | 0 ~ 10 bar |  | 2024-06-10 | 2025-06-09
325 | TG-61 | EMPLOYEE CENTER | WEISS | 0 ~ 70°C |  | 2024-06-10 | 2025-06-09
326 | PG-295 | EMPLOYEE CENTER | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
327 | PG-296 | EMPLOYEE CENTER | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
328 | PG-291 | EMPLOYEE CENTER | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
329 | PG-292 | EMPLOYEE CENTER | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
330 | PG-293 | EMPLOYEE CENTER | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
331 | PG-294 | EMPLOYEE CENTER | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
332 | TG-62 | EMPLOYEE CENTER | WEISS | 0 ~ 70°C |  | 2024-06-10 | 2025-06-09
333 | TG-63 | EMPLOYEE CENTER | WEISS | 0 ~ 70°C |  | 2024-06-10 | 2025-06-09
334 | PG-297 | EMPLOYEE CENTER | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
335 | PG-298 | EMPLOYEE CENTER | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
336 | TG-60 | EMPLOYEE CENTER | WEISS | 0 ~ 70°C |  | 2024-06-10 | 2025-06-09
337 | PG-289 | EMPLOYEE CENTER | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
338 | PG-290 | EMPLOYEE CENTER | WEISS | 0 ~ 11 bar |  | 2024-06-10 | 2025-06-09
339 | PG-31 | RO ROOM | WIKA | 0 ~ 20 bar |  | 2024-06-04 | 2025-06-03
340 | PG-32 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
341 | PG-22 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
342 | PG-23 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
343 | PG-24 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
344 | PG-25 | RO ROOM | MC | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
345 | PG-26 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
346 | PG-27 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
347 | PG-28 | RO ROOM | WIKA | 0 ~ 100 bar |  | 2024-06-04 | 2025-06-03
348 | PG-29 | RO ROOM | WIKA | 0 ~ 25 bar |  | 2024-06-04 | 2025-06-03
349 | PG-30 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
350 | PG-41 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
351 | PG-42 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
352 | PG-39 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
353 | PG-40 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
354 | PG-36 | RO ROOM | Tempress | 0 ~ 100 bar |  | 2024-06-04 | 2025-06-03
355 | PG-37 | RO ROOM | N/A | 0 ~ 100 bar |  | 2024-06-04 | 2025-06-03
356 | PG-35 | RO ROOM | Gyanshan | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
357 | PG-38 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
358 |  | RO ROOM
359 | PT-01 | RO ROOM | Danfoss | 0 ~ 16 bar |  | 2024-06-04 | 2025-06-03
360 | PT-02 | RO ROOM | Danfoss | 0 ~ 40 bar |  | 2024-06-04 | 2025-06-03
361 | PG-33 | RO ROOM | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
362 | PG-34 | RO ROOM | UNITHERM | 0 ~ 7 bar |  | 2024-06-04 | 2025-06-03
363 | PG-58 | RO ROOM | UNITHERM | 0 ~ 7 bar |  | 2024-06-04 | 2025-06-03
364 | PG-76 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
365 | PG-77 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
366 | PG-78 | ETP | WIKA | 0 ~ 4 bar |  | 2024-06-04 | 2025-06-03
367 | PG-79 | ETP | WIKA | 0 ~ 4 bar |  | 2024-06-04 | 2025-06-03
368 | PG-80 | ETP | WIKA | 0 ~ 4 bar |  | 2024-06-04 | 2025-06-03
369 | PG-81 | ETP | WIKA | 0 ~ 4 bar |  | 2024-06-04 | 2025-06-03
370 | PG-82 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
371 | PG-83 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
372 | PG-84 | ETP | WIKA | 0 ~ 1.06 bar |  | 2024-06-04 | 2025-06-03
373 | PG-85 | ETP | WIKA | 0 ~ 1.06 bar |  | 2024-06-04 | 2025-06-03
374 | PG-86 | ETP | WIKA | 0 ~ 1.06 bar |  | 2024-06-04 | 2025-06-03
375 | PG-54 | ETP | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
376 | PG-55 | ETP | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
377 | PG-56 | ETP | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
378 | PG-57 | ETP | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
379 | PG-43 | ETP | ITEC | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
380 | PG-44 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
381 | PG-45 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
382 | PG-46 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
383 | PG-47 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
384 | PG-48 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
385 | PG-49 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
386 | PG-50 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | OUT OF ORDER
387 | PG-51 | ETP | WIKA | 0 ~ 2 bar |  | 2024-06-04 | 2025-06-03
388 | PG-52 | ETP | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
389 | PG-53 | ETP | ITEC | 0 ~ 4 bar |  | 2024-06-04 | 2025-06-03
390 | PG-87 | ETP | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03
391 | PG-88 | ETP | WIKA | 0 ~ 10 bar |  | 2024-06-04 | 2025-06-03