## List
Customer | Equipment | UI | Make | Model | Serial | Location | Type | Range | Tolerance | Mode | MaxRead | Freq | CalDate | CalDue
Lucky Motor Corporation Ltd | Pressure Gauge | PG-10 | Tempres | N/A | N/A | Compressor Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-11 | Tempres | N/A | N/A | Compressor Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-12 | EM | N/A | N/A | Compressor Room | Analog | 0 ~ 17 Bar | ± 0.2 Bar | Result In Bar | 17 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-13 | Tempres | N/A | N/A | Compressor Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-14 | True Teller | N/A | N/A | Compressor Room | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-15 | True Teller | N/A | N/A | Compressor Room | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-16 | Tempres | N/A | N/A | Compressor Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-17 | EM | N/A | N/A | Compressor Room | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-18 | True Teller | N/A | N/A | Compressor Room | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-19 | EM | N/A | N/A | Compressor Room | Analog | 0 ~ 17 Bar | ± 0.2 Bar | Result In Bar | 17 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-20 | Tempres | N/A | N/A | Compressor Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-21 | Wika | N/A | N/A | Compressor Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-59 | Tempres | N/A | N/A | Compressor Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-60 | True Teller | N/A | N/A | Compressor Room | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-61 | EMPEO | N/A | N/A | Compressor Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-62 | WIKA | N/A | N/A | Compressor Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-63 | WIKA | N/A | N/A | Compressor Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-64 | WIKA | N/A | N/A | Compressor Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-65 | WIKA | N/A | N/A | Compressor Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-115 | EMPEO | N/A | N/A | Boiler Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-116 | EMA Tech | N/A | N/A | Boiler Room | Analog | 0 ~ 17 Bar | ± 0.2 Bar | Result In Bar | 17 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-117 | EMPEO | N/A | N/A | Boiler Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | OUT OF ORDER
Lucky Motor Corporation Ltd | Pressure Gauge | PG-118 | EMPEO | N/A | N/A | Boiler Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-119 | RUETELLER | N/A | N/A | Boiler Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-120 | WIKAI | N/A | N/A | Boiler Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-05 | EMPEO | N/A | N/A | Boiler Room | Analog | 0 ~ 120°C | ± 2°C | Result In °C | 120 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-06 | VIESSMANN | N/A | N/A | Boiler Room | Analog | 0 ~ 200°C | ± 2°C | Result In °C | 200 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-120 | WIKAI | N/A | N/A | Boiler Room | Analog | 0 ~ 210 Psi | ± 5 Psi | Result In Psi | 210 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-121 | KIPINAGO | N/A | N/A | Boiler Room | Analog | 0 ~ 100 mBar | ± 2 mBar | Result In mBar | 100 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-122 | WIKAI | N/A | N/A | Boiler Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-07 | Tempres | N/A | N/A | Boiler Room | Analog | 0 ~ 600°C | ± 5°C | Result In °C | 600 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-08 | WIKAI | N/A | N/A | Boiler Room | Analog | 0 ~ 600°C | ± 5°C | Result In °C | 600 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-09 | WIKAI | N/A | N/A | Boiler Room | Analog | 0 ~ 200°C | ± 2°C | Result In °C | 200 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-05 | Pression | N/A | N/A | Steam Boiler | Analog | 0 ~ 15 Psi | ± 1°C | Result In Psi | 15 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-06 | 261534-3 | N/A | N/A | Steam Boiler | Analog | 0 ~ 100 mBar | ± 2 mBar | Result In mBar | 100 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-07 | Unitherm | N/A | N/A | Steam Boiler | Analog | 0 ~ 350 Psi | ± 5 Psi | Result In Psi | 350 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-08 | HTM | N/A | N/A | Steam Boiler | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-09 | Tempres | N/A | N/A | Steam Boiler | Analog | 0 ~ 600 Psi | ± 5 Psi | Result In Psi | 600 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Temperature Gauge | TG-02 | WIKAI | N/A | N/A | Steam Boiler | Analog | 0 ~ 600°C | ± 5°C | Result In °C | 600 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Temperature Gauge | TG-03 | Tempres | N/A | N/A | Steam Boiler | Analog | 0 ~ 300°C | ± 3°C | Result In °C | 300 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Temperature Gauge | TG-04 | WIKAI | N/A | N/A | Steam Boiler | Analog | 0 ~ 300°C | ± 3°C | Result In °C | 300 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-01 | FMM | N/A | N/A | 4MW HWG | Analog | 0 ~ 250 Psi | ± 5 Psi | Result In Psi | 250 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-02 | WIKAI | N/A | N/A | 4MW HWG | Analog | 0 ~ 35 Psi | ± 2 Psi | Result In Psi | 35 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-03 | KIPINAGO | N/A | N/A | 4MW HWG | Analog | 0 ~ 100 mBar | ± 2 mBar | Result In mBar | 100 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Pressure Gauge | PG-04 | AFRISO | N/A | N/A | 4MW HWG | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-03 | 2025-06-02
Lucky Motor Corporation Ltd | Temperature Gauge | TG-01 | JAKQ | N/A | N/A | 4MW HWG | Analog | 0 ~ 200°C | ± 2°C | Result In °C | 200 | cal | 2024-06-03 | OUT OF ORDER
Lucky Motor Corporation Ltd | Pressure Gauge | PG-89 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-90 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-91 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-92 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-93 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-94 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-95 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-96 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-97 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-98 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-99 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-100 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-101 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-102 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-103 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-104 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-105 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-112 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-113 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-106 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-107 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-303 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-304 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-305 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-306 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-307 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-308 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-309 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-310 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-108 | Tec sis | N/A | N/A | Power House | Analog | 0 ~ 4 Bar | ± 0.1 Bar | Result In Bar | 4 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-111 | Tec sis | N/A | N/A | Power House | Analog | 0 ~ 4 Bar | ± 0.1 Bar | Result In Bar | 4 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-171 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 60 Bar | ± 0.2 Bar | Result In Bar | 60 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-170 | Tec sis | N/A | N/A | Power House | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-109 | LR | N/A | N/A | Power House | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-110 | LR | N/A | N/A | Power House | Analog | 0 ~ 60 Bar | ± 0.2 Bar | Result In Bar | 60 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-114 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 4 Bar | ± 0.1 Bar | Result In Bar | 4 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-124 | True teller | N/A | N/A | Power House | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-125 | MC | N/A | N/A | Power House | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-126 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-127 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-128 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-129 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-130 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-131 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-132 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-133 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-134 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-135 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-136 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-137 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-138 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-139 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-141 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-147 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-148 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-149 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-299 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-300 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-301 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-302 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-140 | Tec sis | N/A | N/A | Power House | Analog | 0 ~ 4 Bar | ± 0.1 Bar | Result In Bar | 4 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-144 | Tec sis | N/A | N/A | Power House | Analog | 0 ~ 4 Bar | ± 0.1 Bar | Result In Bar | 4 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-146 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 60 Bar | ± 0.2 Bar | Result In Bar | 60 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-145 | Tec sis | N/A | N/A | Power House | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-142 | LR | N/A | N/A | Power House | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-143 | LR | N/A | N/A | Power House | Analog | 0 ~ 60 Bar | ± 0.2 Bar | Result In Bar | 60 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-151 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 15 Bar | ± 0.2 Bar | Result In Bar | 15 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-150 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 40 Bar | ± 0.2 Bar | Result In Bar | 40 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-152 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-153 | Reateller | N/A | N/A | Power House | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-09 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 160°C | ± 2°C | Result In °C | 160 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-10 | TECSIS | N/A | N/A | Power House | Analog | 0 ~ 120°C | ± 1°C | Result In °C | 120 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-154 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-157 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-158 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-155 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 5 Bar | ± 0.1 Bar | Result In Bar | 5 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-156 | Fimet | N/A | N/A | Power House | Analog | 0 ~ 6 Bar | ± 0.1 Bar | Result In Bar | 6 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-310 | MUGVA-FIMA | N/A | N/A | Power House | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-311 | MUGVA-FIMA | N/A | N/A | Power House | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-312 | MUGVA-FIMA | N/A | N/A | Power House | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-313 | MUGVA-FIMA | N/A | N/A | Power House | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-68 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 250°C | ± 2°C | Result In °C | 250 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Switch | PS-01 | N/A | N/A | N/A | Power House | Analog | 0 ~ 2.5 Bar | ± 0.01 Bar | Result In Bar | 2.5 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-314 | MUGVA-FIMA | N/A | N/A | Power House | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-159 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 150 Psi | ± 5 Psi | Result In Psi | 150 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-160 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 150 Psi | ± 5 Psi | Result In Psi | 150 | cal | 2024-06-06 | OUT OF ORDER
Lucky Motor Corporation Ltd | Pressure Gauge | PG-161 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 150 Psi | ± 5 Psi | Result In Psi | 150 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-11 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 300°C | ± 3°C | Result In °C | 300 | cal | 2024-06-06 | OUT OF ORDER
Lucky Motor Corporation Ltd | Pressure Gauge | PG-166 | Unitherm | N/A | N/A | Power House | Analog | 0 ~ 100 Psi | ± 5 Psi | Result In Psi | 100 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-167 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 150 Psi | ± 5 Psi | Result In Psi | 150 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-168 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 150 Psi | ± 5 Psi | Result In Psi | 150 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-169 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 150 Psi | ± 5 Psi | Result In Psi | 150 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-12 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 120°C | ± 1°C | Result In °C | 120 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-13 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 300°C | ± 3°C | Result In °C | 300 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-162 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 100 Psi | ± 5 Psi | Result In Psi | 100 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-163 | EMPEO | N/A | N/A | Power House | Analog | 0 ~ 150 Psi | ± 5 Psi | Result In Psi | 150 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-164 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 150 Psi | ± 5 Psi | Result In Psi | 150 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-165 | Tempres | N/A | N/A | Power House | Analog | 0 ~ 150 Psi | ± 5 Psi | Result In Psi | 150 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-64 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 120°C | ± 1°C | Result In °C | 120 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-65 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 120°C | ± 1°C | Result In °C | 120 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-66 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 120°C | ± 1°C | Result In °C | 120 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-67 | WIKA | N/A | N/A | Power House | Analog | 0 ~ 120°C | ± 1°C | Result In °C | 120 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Temperature Gauge | TG-14 | Tempres | N/A | N/A | Tank Yard Area | Analog | 0 ~ 120°C | ± 1°C | Result In °C | 120 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-172 | EMM | N/A | N/A | Tank Yard Area | Analog | 0 ~ 17 Bar | ± 0.2 Bar | Result In Bar | 17 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-173 | Weiss | N/A | N/A | Tank Yard Area | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-174 | Unitherm | N/A | N/A | Tank Yard Area | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-175 | WIKA | N/A | N/A | Tank Yard Area | Analog | 0 ~ 7 Bar | ± 0.1 Bar | Result In Bar | 7 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-176 | Tempres | N/A | N/A | Tank Yard Area | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-177 | GFA | N/A | N/A | Tank Yard Area | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-178 | EMPEO | N/A | N/A | Tank Yard Area | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-179 | Alfa Laval | N/A | N/A | Tank Yard Area | Analog | 1 ~ 1.5 Bar | ± 0.01 Bar | Result In Bar | 1.5 | cal | 2024-06-06 | OUT OF ORDER
Lucky Motor Corporation Ltd | Pressure Gauge | PG-180 | Alfa Laval | N/A | N/A | Tank Yard Area | Analog | 0 ~ 6 Bar | ± 0.02 Bar | Result In Bar | 6 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-181 | WIKA | N/A | N/A | Tank Yard Area | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-182 | Alfa Laval | N/A | N/A | Tank Yard Area | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-06 | 2025-06-05
Lucky Motor Corporation Ltd | Pressure Gauge | PG-67 | WIKA | N/A | N/A | Industrial Water Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-68 | Tempress | N/A | N/A | Industrial Water Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-69 | WIKA | N/A | N/A | Industrial Water Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-70 | True teller | N/A | N/A | Industrial Water Room | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-66 | WIKA | N/A | N/A | Industrial Water Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-71 | Unitherm | N/A | N/A | Paint Ancillary Compressor Room | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-72 | N/A | N/A | N/A | Paint Ancillary Compressor Room | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-73 | N/A | N/A | N/A | Paint Ancillary Compressor Room | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-74 | WIKA | N/A | N/A | Paint Ancillary Compressor Room | Analog | 0 ~ 40 Bar | ± 0.2 Bar | Result In Bar | 40 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-75 | Samsung | N/A | N/A | Paint Ancillary Compressor Room | Analog | 0 ~ 15 Bar | ± 0.2 Bar | Result In Bar | 15 | cal | 2024-06-05 | 2025-06-04
Lucky Motor Corporation Ltd | Pressure Gauge | PG-183 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-184 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-185 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-186 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-187 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-188 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-189 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-190 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-191 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-192 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-193 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-194 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-195 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-196 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-197 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-198 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-199 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-200 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-201 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-202 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-203 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-204 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-205 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-206 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-207 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-208 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-209 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-210 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-211 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-212 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-213 | Tempress | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 2.5 Bar | ± 0.01 Bar | Result In Bar | 2.5 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-214 | Tempress | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 2.5 Bar | ± 0.01 Bar | Result In Bar | 2.5 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-215 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-216 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-217 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-218 | WEISS | N/A | N/A | ABSORPTION/CENTRIFUGAL CHILLER ROOM | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-219 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-220 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-221 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-222 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-223 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-224 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-225 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-226 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-227 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-228 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-229 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-230 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-231 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-232 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-233 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-234 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-235 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-236 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-237 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-238 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-239 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-240 | DURR | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 6 Bar | ± 0.1 Bar | Result In Bar | 6 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-241 | DURR | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 6 Bar | ± 0.1 Bar | Result In Bar | 6 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-242 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-243 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-244 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-245 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-246 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-247 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-248 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-249 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-250 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-251 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-252 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-253 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-254 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-255 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-256 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-257 | MC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-15 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-16 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-17 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-18 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-19 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-20 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-21 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-22 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-23 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-24 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-25 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-26 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-27 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-28 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-29 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-30 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-31 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-32 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-33 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-34 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-35 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-36 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-37 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-38 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-39 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-40 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-41 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-42 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-43 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-44 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-45 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-46 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-47 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-48 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-49 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-50 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-51 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-258 | MCC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-259 | MCC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-260 | MCC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-261 | MCC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-52 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-53 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-54 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-55 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-262 | MCC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-263 | MCC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-264 | MCC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-265 | MCC | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 1 Mpa | ± 0.01 Mpa | Result In Mpa | 1 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-56 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-57 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-58 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Temperature Gauge | TG-59 | WSS | N/A | N/A | SCREW CHILLER & TURBO CHILLER ROOM | Analog | 0 ~ 100°C | ± 1°C | Result In °C | 100 | cal | 2024-06-07 | 2025-06-06
Lucky Motor Corporation Ltd | Pressure Gauge | PG-279 | EMPEO | N/A | N/A | WELD AHU | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-280 | EMPEO | N/A | N/A | WELD AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | OUT OF ORDER
Lucky Motor Corporation Ltd | Pressure Gauge | PG-281 | EMPEO | N/A | N/A | WELD AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-282 | EMPEO | N/A | N/A | WELD AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-283 | EMPEO | N/A | N/A | WELD AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-284 | EMPEO | N/A | N/A | WELD AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-285 | EMPEO | N/A | N/A | WELD AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-286 | EMPEO | N/A | N/A | WELD AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | OUT OF ORDER
Lucky Motor Corporation Ltd | Pressure Gauge | PG-287 | EMPEO | N/A | N/A | WELD AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-288 | EMPEO | N/A | N/A | WELD AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-266 | WEISS | N/A | N/A | ASSEMBLY AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-267 | WEISS | N/A | N/A | ASSEMBLY AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-268 | WEISS | N/A | N/A | ASSEMBLY AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-269 | WEISS | N/A | N/A | ASSEMBLY AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-270 | WEISS | N/A | N/A | ASSEMBLY AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-271 | WEISS | N/A | N/A | ASSEMBLY AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-272 | WEISS | N/A | N/A | ASSEMBLY AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-273 | WEISS | N/A | N/A | ASSEMBLY AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-274 | WEISS | N/A | N/A | ASSEMBLY AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-275 | WEISS | N/A | N/A | ASSEMBLY AHU | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-276 | WGTC | N/A | N/A | SAMSUNG CHILLED WATER PUMP | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-277 | WGTC | N/A | N/A | SAMSUNG CHILLED WATER PUMP | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-278 | WGTC | N/A | N/A | SAMSUNG CHILLED WATER PUMP | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Temperature Gauge | TG-61 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 70°C | ± 0.5°C | Result In °C | 70 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-295 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-296 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-291 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-292 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-293 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-294 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Temperature Gauge | TG-62 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 70°C | ± 0.5°C | Result In °C | 70 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Temperature Gauge | TG-63 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 70°C | ± 0.5°C | Result In °C | 70 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-297 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-298 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Temperature Gauge | TG-60 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 70°C | ± 0.5°C | Result In °C | 70 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-289 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-290 | WEISS | N/A | N/A | EMPLOYEE CENTER | Analog | 0 ~ 11 Bar | ± 0.2 Bar | Result In Bar | 11 | cal | 2024-06-10 | 2025-06-09
Lucky Motor Corporation Ltd | Pressure Gauge | PG-31 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 20 Bar | ± 0.2 Bar | Result In Bar | 20 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-32 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-22 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-23 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-24 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-25 | MC | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-26 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-27 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-28 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 100 Bar | ± 0.2 Bar | Result In Bar | 100 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-29 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 25 Bar | ± 0.2 Bar | Result In Bar | 25 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-30 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-41 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-42 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-39 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-40 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-36 | Tempress | N/A | N/A | RO ROOM | Analog | 0 ~ 100 Bar | ± 0.2 Bar | Result In Bar | 100 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-37 | N/A | N/A | N/A | RO ROOM | Analog | 0 ~ 100 Bar | ± 0.2 Bar | Result In Bar | 100 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-35 | Gyanshan | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-38 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Transmitter | PT-01 | N/A | Danfoss | N/A | RO ROOM | Digital | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Transmitter | PT-02 | N/A | Danfoss | N/A | RO ROOM | Digital | 0 ~ 40 Bar | ± 0.2 Bar | Result In Bar | 40 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-33 | WIKA | N/A | N/A | RO ROOM | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-34 | UNITHERM | N/A | N/A | RO ROOM | Analog | 0 ~ 7 Bar | ± 0.1 Bar | Result In Bar | 7 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-58 | UNITHERM | N/A | N/A | RO ROOM | Analog | 0 ~ 7 Bar | ± 0.1 Bar | Result In Bar | 7 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-76 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-77 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.02 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-78 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 4 Bar | ± 0.02 Bar | Result In Bar | 4 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-79 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 4 Bar | ± 0.02 Bar | Result In Bar | 4 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-80 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 4 Bar | ± 0.02 Bar | Result In Bar | 4 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-81 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 4 Bar | ± 0.02 Bar | Result In Bar | 4 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-82 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-83 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-84 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 1.06 Bar | ± 0.01 Bar | Result In Bar | 1.06 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-85 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 1.06 Bar | ± 0.01 Bar | Result In Bar | 1.06 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-86 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 1.06 Bar | ± 0.01 Bar | Result In Bar | 1.06 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-54 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-55 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-56 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-57 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-43 | ITEC | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-44 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-45 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-46 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-47 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-48 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-49 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-50 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | OUT OF ORDER
Lucky Motor Corporation Ltd | Pressure Gauge | PG-51 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 2 Bar | ± 0.01 Bar | Result In Bar | 2 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-52 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-53 | ITEC | N/A | N/A | ETP | Analog | 0 ~ 4 Bar | ± 0.02 Bar | Result In Bar | 4 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-87 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Gauge | PG-88 | WIKA | N/A | N/A | ETP | Analog | 0 ~ 10 Bar | ± 0.1 Bar | Result In Bar | 10 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd

## Short Name
PG | Pressure Gauge
PS | Pressure Switch
VM | Volt Meter
DPS | Differential Pressure Switch
MG | Magnehelic Gauge
TG | Temperature Gauge
TC | Temperature Controller
TS | Temperature Sensor
TH | Thermometer
DTH | Digital Thermometer
TIC | Temperature Indicator Controller
AM | Ampere Meter
VM | Volt Meter
IR | Infrared Gun
PT | Pressure Transmitter
FT | Flow Transmitter
RPM | Tachometer

## Sheet1
Lucky Motor Corporation Ltd | Pressure Transmitter | PT-01 | Danfoss | N/A | N/A | RO ROOM | Analog | 0 ~ 16 Bar | ± 0.2 Bar | Result In Bar | 16 | cal | 2024-06-04 | 2025-06-03
Lucky Motor Corporation Ltd | Pressure Transmitter | PT-02 | Danfoss | N/A | N/A | RO ROOM | Analog | 0 ~ 40 Bar | ± 0.2 Bar | Result In Bar | 40 | cal | 2024-06-04 | 2025-06-03